Temperature measurements were taken by A. Laxdal on Jan.9-10, 2016: for clone Ta46-HPSIS with TC and IR instruments on the target leg and at the center block, at varoius TGHT current settings.

Jan 9, 2016

Ramping program was set for:

Note: the TGHT was found at 70A ( instead of 90A )

Changed the ramping rate for TBHT and ramped again the TBHT to 90A:

Ramping at 360A:

Note: TBHT went down from 90A to 70A (on its own.  See also the messages above)

At 410A:

TBHT keeps on going down.

At 460A:

TBHT keeps on going down.

At 510A:

TBHT keeps on going down.

At 560A:

TBHT keeps on going down.

At 600A:

TBHT keeps on going down.

At 640A:

TBHT keeps on going down.

End of Jan. 9, 2016 measurements. Cooling down over night at

Dec 10, 2016 status:

Turn TBHT OFF and cycle the power ON/OFF

At 360A:

At 410A:

At 460A:

At 510A:

Note: power bump

At 560A:

At 580A:

At 640A:

Going down 620A

Back to 640A

Readback  was at 642A:

Cool down started