## PREINSPECTION
Lid up Pre-Inspection |  | Date: | 2024-02-06 |  | Done by: | Eric Lahe, Peter Hall-Patch, Riley Sykes
Station | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Pre-Inspection
Check for Lubrication leaks - motors, gearbox, jack screw | Y | Y | N | N | Y | Y | Y | N | Y | N | Y | Y
Check coupling alignment - motor to gearbox | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check coupling alignment - gearbox to screw | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check coupling alignment - screw to synchro | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check fasteners - couplings | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check fasteners - motors | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check fasteners - gearboxes | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check fasteners - jack screws | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check fasteners - yoke | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check limit switches - fasteners, alignment, togglability (check with Ops before toggle) | Y | [8 empty] | Y
Check wiring to motor - when spares have been put in or originals replaced, after service | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check wiring to synchros - When elevating system is powered up | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check synchros for damage - when elevating system is powered up | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Check on top of cylotron lid - no equipment that would interfere with lid up | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Ensure crane is in "parked" position - station 12 | [11 empty] | Y
Pre-lift Synchro | 71 | 68 | 73 | 64 | 77349 | 70 | 71 | 77 | 83069 | 99392 | 73 | 68
Notes:
Station 3: Jack L-minor leak at worm shaft housing, Highfield R-very minor leak Station 4: Highfield L - leak by front pipe Station 8: Jacks - small leak at worm shaft housing Station 10: Jack R - small leak at worm shaft housing Station 11: Missing washers on Yoke

## LID UP
Lid up Operation |  | Date: | 2024-02-06 |  | Time Lift Started: |  | 10:41AM |  | Master Synchro. Pre |  | 0
| Height Confirmation |  | 46.5" |  | Time Lift Ended: |  | 3:18PM |  | Master Synchro. Post |  | 47401
Station | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Pre-lift Synchro | 75 | 70 | 72 | 53 | 37 | 44 | 38 | 49 | 71 | 55 | 71 | 55
During Lift
Jogging
Jog 1 |  |  |  |  | -60
Jog 2 |  |  |  |  | 20
Jog 3 | [8 empty] | 9 |  | 30
Jog 4 |  |  |  |  | 20
Jog 5 * Recovery from power loss | [9 empty] | 150
Inspection During Lift
Seal between L-HF and L-jack coming out | [6 empty] | x
Missing Washers on Yoke | [10 empty] | x
Noise - Non critical | [7 empty] | R-HF |  | M
@3" check tank seal | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Heat Check - After running for 20 minutes
Left Highfield | 54 | 53 | 49 | 40 | 46 | 42 | 43 | 41 | 43 | 45 | 42 | 46
Motor | 53 | 52 | 43 | 45 | 47 | 44 | 46 | 44 | 43 | 46 | 48 | 45
Right Highfield | 42 | 41 | 52 | 30 | 44 | 45 | 47 | 43 | 46 | 41 | 49 | 51
Post-lift Synchro | 47382 | 47381 | 47375 | 47365 | 47331 | 47374 | 47382 | 47382 | 47408 | 47338 | 47383 | 47357
Notes | 2024-02-06 @10:41AM - lift 1: brake release issue from start: replaced blown fuse 2024-02-07. See ELog 165 2024-02-07 @ 11:17AM - after brake release issue was fixed, needed adjustments to recover, lowered lid back down to readjust yoke gaps. Replaced synchros at Stations 5, 9, 10, adjusted counters to "Pre-lift" values above. 2024-02-07 @ 12:59PM - lift 2 2024-02-07 @ 1:43PM - at about halfway up: Station 10 lost power due to a power connection (see ELog: 166) , once fixed, lift continued smoothly. 2024-02-07 @ 3:18PM - Success! Lid confirmed up: 46.5" confirmation at bridge entrance, confirmation stick on cyclotron roof bent on ceiling

## LID DOWN
Lid Down Operation |  | Date: | 2024-04-19 |  | Time Started: |  | 12:44 |  | Master Synchro. Pre |  | 47401
[5 empty] | Time Completed: |  | 13:17 |  | Master Synchro. Post |  | 52
Station | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Synchro Before | 47382 | 47381 | 47375 | 47365 | 47331 | 47374 | 47382 | 47382 | 47408 | 47338 | 47383 | 47357
Jogging
Jogging 1 | No Jogging Required
Jogging 2
Jogging 3
Check During Operation
Left Highfield | y | y | y | y | y | y | y | y | y | y | y | y
Motor | y | y | y | y | y | y | y | y | y | y | y | y
Right Highfield | y | y | y | y | y | y | y | y | y | y | y | y
Post Lid-Down Synchro | 57 | 57 | 61 | 49 | 21 | 55 | 58 | 60 | 91 | 32 | 54 | 53
Notes | 2024-04-19 @12:45PM - started. 2024-04-19 @1:05PM - paused for tank seal inspection. 2024-04-19 @1:17PM - completed.