



|  |  |  |
| --- | --- | --- |
| 2015-06-03 23:14:30 | **Summary:**Conditioning station check. | [**Make Comment**](https://web.accel.triumf.ca/isac_elog/Elog_add_entry.pl?inid=208020&entrytype=comment) |
|  | **Detail:**  TBHT is at setpoint, TGHT is at 555 A on it's way to 580. Heater ramp has been on hold since ~18:50 due to poor vacuum (TCS:PNG1 > 6e-6 torr).   TCS:TS5:RDTEMP is oscillating between 19 and 25 degrees as expected.   Looks like there was a bit of a sparking fit from ~18:10 to ~18:40, but it has been pretty quiet since then (although some sparking has resurfaced in the last 10 minutes - I'll continue to monitor this). |  |



|  |  |  |
| --- | --- | --- |
| 2015-06-04 23:09:26 | **Summary:**Conditioning station check, contains TM4 with SiC#30 HP SIS. | [**Make Comment**](https://web.accel.triumf.ca/isac_elog/Elog_add_entry.pl?inid=208099&entrytype=comment) |
|  | **Detail:**  No sparking over the last 8 hours, TCS:TS5:RDTEMP looks ok. Vacuum on PNG1 continues to come down slowly, now at ~4e-6 torr. |  |

