Monday, June 13, 2016, 08:12: Auto ramping TBHT only @ 1A min to 150A.

Prep for second tests.

| Heating start date and time | 2016-06-13 08:12 |
| --- | --- |
| BIAS |  |
| Voltage [kV] | 30 |
| Current [µA] | 31 |
| Extraction Electrode (EE) |  |
| Voltage [kV] | 1.5 |
| Current [µA] | 513 |
| (EZL) |  |
| Voltage [kV] | 13.8 |
| Current [µA] | 49 |
| TGHT |  |
| Current [A] | N/A |
| Voltage [V] | N/A |
| TBHT |  |
| Current [A] | 148.7 |
| Voltage [V] | 1.087 |

Ramp back down to 140A manually.

Tuesday, June 14, 2016, 09:20: Venting.