LP-SIS TUBE HEATER ONLY – No Plasma Electrode ---- TEST

Note:

-Tube Heater only. No Target heater. Plasma electrode re-attached. Salts replaced.

| Salts used: | Qty [µL]: |
| --- | --- |
| Li | 5 |
| Na | 5 |
| K | 5 |
| Rb | 5 |
| Cs | 5 |