LP-SIS TUBE HEATER ONLY – No Plasma Electrode ---- TEST

Note:

-Tube Heater only. No Target heater, No plasma electrode.

| Salts used: | Qty [µL]: |
| --- | --- |
| Li | 5 |
| Na | 5 |
| K | 5 |
| Rb | 5 |
| Cs | 5 |

Tuesday, June 14, 2016, 11:16: Turbo pumps started.

Tuesday, June 14, 2016, 11:23: Ion gauge on.

Wednesday, June 15, 2016, 07:45: Water opened. RGA ok. Vacuum stable @ 1.9E-7T. Power/sources on.

.

scan