TEST----- TUBE HEATER ONLY ---- NEW EE & INSULATORS – NO PE

Note:

-Tube Heater only. No Target heater. Plasma Electrode Removed.

| Salts used: | Qty [µL]: |
| --- | --- |
| Li | - |
| Na | - |
| K | 10 |
| Rb | 10 |
| Cs | 5 |

8:30am – 7/15/2016 RGA status

Optics Maldonado

Scans

# Fco-max

750

Emittance-scans

Scans

This looks awful, the beam is not going through I will change the einzel lens to try to get more beam and re-scan, from previous measurement s of fc0 the maximum current is lower than the max current register, so perhaps the map will look rather similar.