TEST----- TUBE HEATER ONLY ---- No EE – NO PE

Note:

-Tube Heater only. No Target heater. Plasma Electrode Removed.

| Salts used: | Qty [µL]: |
| --- | --- |
| Li | - |
| Na | - |
| K | 10 |
| Rb | 10 |
| Cs | 5 |

Monday, July 18, 2016, 12:19: Roughing.

Monday, July 18, 2016, 13:13: Turbo pumps on.

Monday, July 18, 2016, 13:18: Ion gauge on

-Vacuum Response to spark.

Bp-scans

Scan-trying toge maxfc6

Re-sans-defaults

Re-scans-fc06

5