TEST----- TUBE HEATER ONLY ---- No EE – With PE.

Note:

-Tube Heater only. No Target heater. Plasma Electrode Removed.

| Salts used: | Qty [µL]: |
| --- | --- |
| Li | - |
| Na | - |
| K | 10 |
| Rb | 10 |
| Cs | 5 |

Tuesday, July 19, 2016, 15:14: Roughing

Heat shield flow – 3.82 lpm

Fc0=3.3E-8

Fc6=1.15E-9

Mxfc6

Fc6=1.4E-9

Centered rmp6a, less fc6