Magnet was reversed then put back to Normal.

Mass 7

Mass 7

Mass 132

Mass 132

Mass 132

Mass 132

Mass 7

Mass  7

Mass 7

File written @ 3:02 pm

Mass 39

Mass 39

Graham Waters contacted. Constant voltage on emittance rig power supply. 10V? Spark from a while ago?

Source voltages off