***Spare LP SIS Ta - Target for Ta#52.***

http://isacwserv.triumf.ca/onlylocal/isactdata/save_restore/masscorr/2017-07-07-13-13%20Spare%20Ta%20LP-SIS%20

Mass 23

Mass 23

Mass 23

Mass 23

Mass 23

Mass 38

Mass 38

Mass 38

Mass 38

Mass 38

Mass 39

Mass 39

Mass 39

Mass 39

Mass 39

http://isacwserv.triumf.ca/onlylocal/isactdata/save_restore/masscorr/2017-07-07-14-03%20Spare%20Ta%20LP-SIS%20

Mass 133

Mass 133

Mass 133

Mass 133

Anode brought up to 5, 10 15, and 50 V using FEBIAD controls. No Current detected.