FEBIAD COIL TEST 6

SILVER BOLTS USED ON COIL, TGHT, TBHT.

End Caps installed.

Restart due to shut down.

Oct 11, 2018

ANODE / CATHODE PS REQUIRES REVERSAL!!!!

http://isacwserv.triumf.ca/onlylocal/isactdata/save_restore/masscorr/2018-10-12-13-52%20POS%20Cathode%20-%20200V%20Anode

http://isacwserv.triumf.ca/onlylocal/isactdata/save_restore/masscorr/2018-10-12-13-52%20POS%20Cathode%20-%200V%20Anode%20-%2050A%20Coil

Anode @ 0 V – Coil @ 50 A.